## 2018_01_23_NEW
Time(H) | Water flow | Water Volume(L) | Mains(phase-1) A | Mains(phase-2) A | Mains(phase-3) A | Power Mains (KW) | ENERGY Mains(KWH) | Motor Phase -1 (A) | Motor Phase -2 (A) | Motor Phase -3 (A) | Motor Power (KW) | Motor Energy(KWH) | Solar amps(A) |  | Solar Voltage(V) | Solar Power(KW) | Solar Power(KW) | Solar Energy(KWH) | Tariff66($/Day) | Tariff66(with solar)($/Day) | Tariff66(Savings)($/Day) | Tariff22a($/Day) | Tariff22a(with solar)($/Day) | Tariff22a(Savings)($/Day) | Tariff62($/Day) | Tariff62(with solar)($/Day) | Tariff62(Savings)($/Day) | Tariff65($/Day) | Tariff65(with solar)($/Day) | Tariff65(Savings)($/Day)
43124 | 0 | 0 | -0.23774 | -0.14245 | 0.39748 | 0.095396 | 0.0079497 | 0.50314 | 1.1321 | 1.0377 | 0.51321 | 0.042767 | -0.28302 | 5961 | 596.1 | 0 | 0 | 0 | 74.8105 | 39.4441 | 35.3663 | 207.266 | 103.7257 | 103.5402 | 174.6949 | 90.2824 | 84.4125 | 127.5428 | 68.5329 | 59.0099
43124.0035 | 0.000404 | 0.404 | -0.30126 | -0.20597 | 0.65157 | 0.15638 | 0.013031 | 0.44025 | 1.0377 | 0.9434 | 0.46491 | 0.038742 | -0.28302 | 5971 | 597.1 | 0 | 0 | 0
43124.0069 | 0.000816 | 0.816 | -0.36478 | -0.2695 | 0.23868 | 0.057283 | 0.0047736 | 0.4088 | 0.97484 | 0.8805 | 0.43472 | 0.036226 | -0.28302 | 5983 | 598.3 | 0 | 0 | 0
43124.0104 | 0.001122 | 1.122 | -0.39654 | -0.30126 | 0.36572 | 0.087774 | 0.0073145 | 0.37736 | 0.91195 | 0.81761 | 0.40453 | 0.033711 | -0.28302 | 5989 | 598.9 | 0 | 0 | 0
43124.0139 | 0.001526 | 1.526 | -0.46006 | -0.33302 | 0.3022 | 0.072528 | 0.006044 | 0.34591 | 0.8805 | 0.75472 | 0.38038 | 0.031698 | -0.28302 | 5919 | 591.9 | 0 | 0 | 0
43124.0174 | 0.001831 | 1.831 | -0.49182 | -0.36478 | 0.39748 | 0.095396 | 0.0079497 | 0.31446 | 0.84906 | 0.69182 | 0.35623 | 0.029686 | -0.28302 | 5957 | 595.7 | 0 | 0 | 0
43124.0208 | 0.002235 | 2.235 | -0.52358 | -0.4283 | 0.20692 | 0.04966 | 0.0041384 | 0.28302 | 0.81761 | 0.69182 | 0.34415 | 0.028679 | -0.28302 | 5956 | 595.6 | 0 | 0 | 0
43124.0243 | 0.00264 | 2.64 | -0.55535 | -0.46006 | 0.11163 | 0.026792 | 0.0022327 | 0.25157 | 0.75472 | 0.62893 | 0.31396 | 0.026164 | -0.28302 | 5970 | 597 | 0 | 0 | 0
43124.0278 | 0.002945 | 2.945 | -0.58711 | -0.49182 | 0.49277 | 0.11826 | 0.0098553 | 0.22013 | 0.72327 | 0.59748 | 0.29585 | 0.024654 | -0.28302 | 5954 | 595.4 | 0 | 0 | 0
43124.0312 | 0.003349 | 3.349 | -0.55535 | -0.49182 | 0.048113 | 0.011547 | 0.00096226 | 0.22013 | 0.69182 | 0.56604 | 0.28377 | 0.023648 | -0.28302 | 5973 | 597.3 | 0 | 0 | 0
43124.0347 | 0.003654 | 3.654 | -0.61887 | -0.55535 | -0.078931 | 0 | 0 | 0.18868 | 0.66038 | 0.53459 | 0.26566 | 0.022138 | -0.28302 | 5963 | 596.3 | 0 | 0 | 0
43124.0382 | 0.004066 | 4.066 | -0.58711 | -0.55535 | -0.11069 | 0 | 0 | 0.18868 | 0.62893 | 0.50314 | 0.25358 | 0.021132 | -0.28302 | 5967 | 596.7 | 0 | 0 | 0
43124.0417 | 0.004372 | 4.372 | -0.68239 | -0.58711 | 0.11163 | 0.026792 | 0.0022327 | 0.15723 | 0.62893 | 0.4717 | 0.24151 | 0.020126 | -0.28302 | 5973 | 597.3 | 0 | 0 | 0
43124.0451 | 0.004776 | 4.776 | -0.65063 | -0.58711 | 0.016352 | 0.0039245 | 0.00032704 | 0.15723 | 0.59748 | 0.4717 | 0.23547 | 0.019623 | -0.28302 | 5980 | 598 | 0 | 0 | 0
43124.0486 | 0.005081 | 5.081 | -0.61887 | -0.61887 | -0.11069 | 0 | 0 | 0.15723 | 0.59748 | 0.44025 | 0.22943 | 0.01912 | -0.28302 | 5978 | 597.8 | 0 | 0 | 0
43124.0521 | 0.005486 | 5.486 | -0.68239 | -0.65063 | -0.11069 | 0 | 0 | 0.12579 | 0.56604 | 0.44025 | 0.21736 | 0.018113 | -0.28302 | 5986 | 598.6 | 0 | 0 | 0
43124.0556 | 0.005791 | 5.791 | -0.71415 | -0.65063 | 0.016352 | 0.0039245 | 0.00032704 | 0.12579 | 0.53459 | 0.4088 | 0.20528 | 0.017107 | -0.25157 | 5988 | 598.8 | 0 | 0 | 0
43124.059 | 0.006195 | 6.195 | -0.74591 | -0.68239 | -0.23774 | 0 | 0 | 0.12579 | 0.53459 | 0.37736 | 0.19925 | 0.016604 | -0.25157 | 5990 | 599 | 0 | 0 | 0
43124.0625 | 0.006599 | 6.599 | -0.80943 | -0.68239 | -0.17421 | 0 | 0 | 0.09434 | 0.50314 | 0.37736 | 0.18717 | 0.015597 | -0.28302 | 5993 | 599.3 | 0 | 0 | 0
43124.066 | 0.006905 | 6.905 | -0.80943 | -0.71415 | -0.20597 | 0 | 0 | 0.09434 | 0.50314 | 0.34591 | 0.18113 | 0.015094 | -0.28302 | 5989 | 598.9 | 0 | 0 | 0
43124.0694 | 0.007317 | 7.317 | -0.8412 | -0.71415 | -0.17421 | 0 | 0 | 0.09434 | 0.50314 | 0.34591 | 0.18113 | 0.015094 | -0.28302 | 5982 | 598.2 | 0 | 0 | 0
43124.0729 | 0.007622 | 7.622 | -0.8412 | -0.74591 | -0.20597 | 0 | 0 | 0.062893 | 0.4717 | 0.31446 | 0.16302 | 0.013585 | -0.28302 | 5978 | 597.8 | 0 | 0 | 0
43124.0764 | 0.008026 | 8.026 | -0.8412 | -0.74591 | -0.04717 | 0 | 0 | 0.062893 | 0.4717 | 0.31446 | 0.16302 | 0.013585 | -0.28302 | 5984 | 598.4 | 0 | 0 | 0
43124.0799 | 0.008331 | 8.331 | -0.8412 | -0.74591 | -0.23774 | 0 | 0 | 0.062893 | 0.44025 | 0.31446 | 0.15698 | 0.013082 | -0.28302 | 5972 | 597.2 | 0 | 0 | 0
43124.0833 | 0.008736 | 8.736 | -0.87296 | -0.77767 | -0.23774 | 0 | 0 | 0.062893 | 0.44025 | 0.31446 | 0.15698 | 0.013082 | -0.28302 | 5971 | 597.1 | 0 | 0 | 0
43124.0868 | 0.009041 | 9.041 | -0.87296 | -0.77767 | -0.17421 | 0 | 0 | 0.062893 | 0.44025 | 0.28302 | 0.15094 | 0.012579 | -0.28302 | 5979 | 597.9 | 0 | 0 | 0
43124.0903 | 0.009445 | 9.445 | -0.87296 | -0.77767 | -0.04717 | 0 | 0 | 0.031447 | 0.44025 | 0.28302 | 0.14491 | 0.012075 | -0.28302 | 5981 | 598.1 | 0 | 0 | 0
43124.0938 | 0.00975 | 9.75 | -0.90472 | -0.80943 | -0.30126 | 0 | 0 | 0.031447 | 0.4088 | 0.28302 | 0.13887 | 0.011572 | -0.25157 | 5991 | 599.1 | 0 | 0 | 0
43124.0972 | 0.010155 | 10.155 | -0.90472 | -0.80943 | -0.30126 | 0 | 0 | 0.031447 | 0.4088 | 0.25157 | 0.13283 | 0.011069 | -0.25157 | 5985 | 598.5 | 0 | 0 | 0
43124.1007 | 0.01046 | 10.46 | -0.90472 | -0.80943 | -0.23774 | 0 | 0 | 0.031447 | 0.4088 | 0.25157 | 0.13283 | 0.011069 | -0.28302 | 5987 | 598.7 | 0 | 0 | 0
43124.1042 | 0.010872 | 10.872 | -0.90472 | -0.80943 | -0.11069 | 0 | 0 | 0.031447 | 0.37736 | 0.25157 | 0.12679 | 0.010566 | -0.25157 | 5985 | 598.5 | 0 | 0 | 0
43124.1076 | 0.011169 | 11.169 | -0.90472 | -0.80943 | -0.14245 | 0 | 0 | 0.031447 | 0.4088 | 0.22013 | 0.12679 | 0.010566 | -0.28302 | 6000 | 600 | 0 | 0 | 0
43124.1111 | 0.011475 | 11.475 | -0.93648 | -0.8412 | -0.2695 | 0 | 0 | 0 | 0.37736 | 0.22013 | 0.11472 | 0.0095597 | -0.25157 | 6010 | 601 | 0 | 0 | 0
43124.1146 | 0.011887 | 11.887 | -0.90472 | -0.80943 | -0.20597 | 0 | 0 | 0 | 0.37736 | 0.22013 | 0.11472 | 0.0095597 | -0.25157 | 6014 | 601.4 | 0 | 0 | 0
43124.1181 | 0.012192 | 12.192 | -0.74591 | -0.8412 | -0.20597 | 0 | 0 | 0 | 0.37736 | 0.22013 | 0.11472 | 0.0095597 | -0.28302 | 5978 | 597.8 | 0 | 0 | 0
43124.1215 | 0.012596 | 12.596 | -0.80943 | -0.8412 | -0.46006 | 0 | 0 | 0 | 0.34591 | 0.22013 | 0.10868 | 0.0090566 | -0.28302 | 5980 | 598 | 0 | 0 | 0
43124.125 | 0.012901 | 12.901 | -0.8412 | -0.8412 | -0.46006 | 0 | 0 | -0.031447 | 0.34591 | 0.22013 | 0.10868 | 0.0090566 | -0.28302 | 5976 | 597.6 | 0 | 0 | 0
43124.1285 | 0.013306 | 13.306 | -0.8412 | -0.8412 | -0.33302 | 0 | 0 | -0.031447 | 0.34591 | 0.18868 | 0.10264 | 0.0085535 | -0.28302 | 6001 | 600.1 | 0 | 0 | 0
43124.1319 | 0.013611 | 13.611 | -0.87296 | -0.8412 | -0.30126 | 0 | 0 | -0.031447 | 0.34591 | 0.18868 | 0.10264 | 0.0085535 | -0.28302 | 5993 | 599.3 | 0 | 0 | 0
43124.1354 | 0.014015 | 14.015 | -0.93648 | -0.8412 | -0.30126 | 0 | 0 | -0.031447 | 0.34591 | 0.18868 | 0.10264 | 0.0085535 | -0.28302 | 5996 | 599.6 | 0 | 0 | 0
43124.1389 | 0.01432 | 14.32 | -0.93648 | -0.8412 | -0.30126 | 0 | 0 | -0.031447 | 0.31446 | 0.18868 | 0.096604 | 0.0080503 | -0.25157 | 5987 | 598.7 | 0 | 0 | 0
43124.1424 | 0.014725 | 14.725 | -0.87296 | -0.8412 | -0.36478 | 0 | 0 | -0.031447 | 0.31446 | 0.15723 | 0.090566 | 0.0075472 | -0.25157 | 5993 | 599.3 | 0 | 0 | 0
43124.1458 | 0.01503 | 15.03 | -0.90472 | -0.87296 | -0.33302 | 0 | 0 | -0.031447 | 0.31446 | 0.15723 | 0.090566 | 0.0075472 | -0.28302 | 5999 | 599.9 | 0 | 0 | 0
43124.1493 | 0.015335 | 15.335 | -0.96824 | -0.87296 | -0.33302 | 0 | 0 | -0.031447 | 0.31446 | 0.15723 | 0.090566 | 0.0075472 | -0.25157 | 5987 | 598.7 | 0 | 0 | 0
43124.1528 | 0.015739 | 15.739 | -0.96824 | -0.87296 | -0.36478 | 0 | 0 | -0.031447 | 0.31446 | 0.15723 | 0.090566 | 0.0075472 | -0.28302 | 5997 | 599.7 | 0 | 0 | 0
43124.1562 | 0.016045 | 16.045 | -0.80943 | -0.87296 | -0.04717 | 0 | 0 | -0.062893 | 0.28302 | 0.12579 | 0.078491 | 0.0065409 | -0.28302 | 5990 | 599 | 0 | 0 | 0
43124.1597 | 0.016457 | 16.457 | -0.96824 | -0.87296 | -0.30126 | 0 | 0 | -0.062893 | 0.28302 | 0.15723 | 0.084528 | 0.007044 | -0.25157 | 5992 | 599.2 | 0 | 0 | 0
43124.1632 | 0.016762 | 16.762 | -0.96824 | -0.87296 | -0.17421 | 0 | 0 | -0.062893 | 0.28302 | 0.12579 | 0.078491 | 0.0065409 | -0.28302 | 5989 | 598.9 | 0 | 0 | 0
43124.1667 | 0.017166 | 17.166 | -0.96824 | -0.87296 | -0.30126 | 0 | 0 | -0.062893 | 0.28302 | 0.12579 | 0.078491 | 0.0065409 | -0.25157 | 6004 | 600.4 | 0 | 0 | 0
43124.1701 | 0.017471 | 17.471 | -0.96824 | -0.87296 | -0.23774 | 0 | 0 | -0.062893 | 0.28302 | 0.12579 | 0.078491 | 0.0065409 | -0.25157 | 6005 | 600.5 | 0 | 0 | 0
43124.1736 | 0.017776 | 17.776 | -0.96824 | -0.87296 | -0.23774 | 0 | 0 | -0.062893 | 0.28302 | 0.12579 | 0.078491 | 0.0065409 | -0.25157 | 6001 | 600.1 | 0 | 0 | 0
43124.1771 | 0.018181 | 18.181 | -0.93648 | -0.87296 | -0.23774 | 0 | 0 | -0.062893 | 0.25157 | 0.12579 | 0.072453 | 0.0060377 | -0.25157 | 5999 | 599.9 | 0 | 0 | 0
43124.1806 | 0.018486 | 18.486 | -0.90472 | -0.90472 | -0.39654 | 0 | 0 | -0.062893 | 0.28302 | 0.09434 | 0.072453 | 0.0060377 | -0.25157 | 5998 | 599.8 | 0 | 0 | 0
43124.184 | 0.01889 | 18.89 | -0.96824 | -0.87296 | -0.23774 | 0 | 0 | -0.062893 | 0.25157 | 0.12579 | 0.072453 | 0.0060377 | -0.25157 | 6010 | 601 | 0 | 0 | 0
43124.1875 | 0.019196 | 19.196 | -0.93648 | -0.87296 | -0.39654 | 0 | 0 | -0.09434 | 0.25157 | 0.09434 | 0.066415 | 0.0055346 | -0.25157 | 5988 | 598.8 | 0 | 0 | 0
43124.191 | 0.019501 | 19.501 | -0.90472 | -0.90472 | -0.46006 | 0 | 0 | -0.09434 | 0.25157 | 0.09434 | 0.066415 | 0.0055346 | -0.25157 | 5989 | 598.9 | 0 | 0 | 0
43124.1944 | 0.019905 | 19.905 | -1 | -0.90472 | -0.39654 | 0 | 0 | -0.09434 | 0.25157 | 0.09434 | 0.066415 | 0.0055346 | -0.25157 | 5964 | 596.4 | 0 | 0 | 0
43124.1979 | 0.02021 | 20.21 | -0.93648 | -0.90472 | -0.30126 | 0 | 0 | -0.09434 | 0.25157 | 0.09434 | 0.066415 | 0.0055346 | -0.25157 | 5969 | 596.9 | 0 | 0 | 0
43124.2014 | 0.020615 | 20.615 | -0.96824 | -0.90472 | -0.36478 | 0 | 0 | -0.09434 | 0.25157 | 0.09434 | 0.066415 | 0.0055346 | -0.25157 | 5975 | 597.5 | 0 | 0 | 0
43124.2049 | 0.02092 | 20.92 | -0.90472 | -0.90472 | -0.46006 | 0 | 0 | -0.09434 | 0.25157 | 0.09434 | 0.066415 | 0.0055346 | -0.25157 | 5986 | 598.6 | 0 | 0 | 0
43124.2083 | 0.021225 | 21.225 | -0.8412 | -0.90472 | -0.2695 | 0 | 0 | -0.09434 | 0.25157 | 0.09434 | 0.066415 | 0.0055346 | -0.25157 | 5982 | 598.2 | 0 | 0 | 0
43124.2118 | 0.021637 | 21.637 | -0.8412 | -0.90472 | -0.4283 | 0 | 0 | -0.09434 | 0.22013 | 0.062893 | 0.05434 | 0.0045283 | -0.25157 | 5982 | 598.2 | 0 | 0 | 0
43124.2153 | 0.021942 | 21.942 | -0.90472 | -0.90472 | -0.23774 | 0 | 0 | -0.09434 | 0.22013 | 0.062893 | 0.05434 | 0.0045283 | -0.25157 | 5978 | 597.8 | 0 | 0 | 0
43124.2188 | 0.022346 | 22.346 | -0.96824 | -0.90472 | -0.36478 | 0 | 0 | -0.09434 | 0.22013 | 0.062893 | 0.05434 | 0.0045283 | -0.28302 | 5983 | 598.3 | 0 | 0 | 0
43124.2222 | 0.022652 | 22.652 | -1 | -0.90472 | -0.46006 | 0 | 0 | -0.09434 | 0.22013 | 0.062893 | 0.05434 | 0.0045283 | -0.25157 | 5990 | 599 | 0 | 0 | 0
43124.2257 | 0.022957 | 22.957 | -1 | -0.90472 | -0.17421 | 0 | 0 | -0.09434 | 0.22013 | 0.062893 | 0.05434 | 0.0045283 | -0.25157 | 5986 | 598.6 | 0 | 0 | 0
43124.2292 | 0.023361 | 23.361 | -0.87296 | -0.90472 | -0.39654 | 0 | 0 | -0.09434 | 0.22013 | 0.062893 | 0.05434 | 0.0045283 | -0.25157 | 5980 | 598 | 0 | 0 | 0
43124.2326 | 0.023666 | 23.666 | -1 | -0.90472 | -0.52358 | 0 | 0 | -0.12579 | 0.22013 | 0.062893 | 0.05434 | 0.0045283 | -0.25157 | 5986 | 598.6 | 0 | 0 | 0
43124.2361 | 0.023972 | 23.972 | -1 | -0.93648 | -0.52358 | 0 | 0 | -0.12579 | 0.22013 | 0.031447 | 0.048302 | 0.0040252 | -0.25157 | 6074 | 607.4 | 0 | 0 | 0
43124.2396 | 0.024376 | 24.376 | -1 | -0.93648 | -0.52358 | 0 | 0 | -0.09434 | 0.18868 | 0.031447 | 0.042264 | 0.003522 | -0.25157 | 6177 | 617.7 | 0 | 0 | 0
43124.2431 | 0.024681 | 24.681 | -1 | -0.93648 | -0.52358 | 0 | 0 | -0.12579 | 0.18868 | 0 | 0.036226 | 0.0030189 | -0.22013 | 6269 | 626.9 | 0 | 0 | 0
43124.2465 | 0.025085 | 25.085 | -1 | -0.96824 | -0.52358 | 0 | 0 | -0.09434 | 0.18868 | -0.031447 | 0.036226 | 0.0030189 | -0.22013 | 6364 | 636.4 | 0 | 0 | 0
43124.25 | 0.025391 | 25.391 | -1 | -0.96824 | -0.52358 | 0 | 0 | -0.09434 | 0.18868 | -0.031447 | 0.036226 | 0.0030189 | -0.22013 | 6344 | 634.4 | 0 | 0 | 0
43124.2535 | 0.025696 | 25.696 | -1.0318 | -0.96824 | -0.52358 | 0 | 0 | -0.09434 | 0.18868 | -0.031447 | 0.036226 | 0.0030189 | -0.22013 | 6426 | 642.6 | 0 | 0 | 0
43124.2569 | 0.0261 | 26.1 | -1 | -0.96824 | -0.52358 | 0 | 0 | -0.09434 | 0.18868 | -0.031447 | 0.036226 | 0.0030189 | -0.22013 | 6542 | 654.2 | 0 | 0 | 0
43124.2604 | 0.026405 | 26.405 | -1 | -0.96824 | -0.52358 | 0 | 0 | -0.09434 | 0.18868 | -0.062893 | 0.036226 | 0.0030189 | -0.18868 | 6583 | 658.3 | 0 | 0 | 0
43124.2639 | 0.026711 | 26.711 | -1 | -0.93648 | -0.52358 | 0 | 0 | -0.062893 | 0.22013 | -0.031447 | 0.042264 | 0.003522 | -0.18868 | 6648 | 664.8 | 0 | 0 | 0
43124.2674 | 0.027115 | 27.115 | -1 | -0.93648 | -0.52358 | 0 | 0 | -0.062893 | 0.22013 | -0.062893 | 0.042264 | 0.003522 | -0.18868 | 6701 | 670.1 | 0 | 0 | 0
43124.2708 | 0.02742 | 27.42 | -1 | -0.93648 | -0.49182 | 0 | 0 | -0.031447 | 0.22013 | -0.031447 | 0.042264 | 0.003522 | -0.18868 | 6741 | 674.1 | 0 | 0 | 0
43124.2743 | 0.027725 | 27.725 | -0.96824 | -0.90472 | -0.49182 | 0 | 0 | 0 | 0.22013 | -0.031447 | 0.042264 | 0.003522 | -0.18868 | 6776 | 677.6 | 0 | 0 | 0
43124.2778 | 0.028137 | 28.137 | -0.96824 | -0.90472 | -0.46006 | 0 | 0 | 0.031447 | 0.25157 | 0 | 0.05434 | 0.0045283 | -0.18868 | 6798 | 679.8 | 0 | 0 | 0
43124.2812 | 0.028435 | 28.435 | -0.93648 | -0.87296 | -0.49182 | 0 | 0 | 0.031447 | 0.28302 | 0.031447 | 0.066415 | 0.0055346 | -0.22013 | 6526 | 652.6 | 0 | 0 | 0
43124.2847 | 0.028847 | 28.847 | -0.93648 | -0.87296 | -0.46006 | 0 | 0 | 0.031447 | 0.28302 | 0.031447 | 0.066415 | 0.0055346 | -0.18868 | 6795 | 679.5 | 0 | 0 | 0
43124.2882 | 0.029152 | 29.152 | -0.93648 | -0.87296 | -0.46006 | 0 | 0 | 0.031447 | 0.28302 | 0.031447 | 0.066415 | 0.0055346 | -0.18868 | 6888 | 688.8 | 0 | 0 | 0
43124.2917 | 0.029457 | 29.457 | -0.90472 | -0.8412 | -0.4283 | 0 | 0 | 0.062893 | 0.31446 | 0.031447 | 0.078491 | 0.0065409 | -0.18868 | 6865 | 686.5 | 0 | 0 | 0
43124.2951 | 0.029861 | 29.861 | -0.87296 | -0.8412 | -0.39654 | 0 | 0 | 0.09434 | 0.31446 | 0.062893 | 0.090566 | 0.0075472 | -0.18868 | 6860 | 686 | 0 | 0 | 0
43124.2986 | 0.030167 | 30.167 | -0.87296 | -0.80943 | -0.36478 | 0 | 0 | 0.15723 | 0.34591 | 0.062893 | 0.10868 | 0.0090566 | -0.18868 | 6909 | 690.9 | 0 | 0 | 0
43124.3021 | 0.030472 | 30.472 | -0.8412 | -0.80943 | -0.36478 | 0 | 0 | 0.15723 | 0.37736 | 0.09434 | 0.12075 | 0.010063 | -0.18868 | 6912 | 691.2 | 0 | 0 | 0
43124.3056 | 0.030876 | 30.876 | -0.8412 | -0.77767 | -0.36478 | 0 | 0 | 0.15723 | 0.37736 | 0.09434 | 0.12075 | 0.010063 | -0.18868 | 6919 | 691.9 | 0 | 0 | 0
43124.309 | 0.031181 | 31.181 | -0.80943 | -0.74591 | -0.33302 | 0 | 0 | 0.18868 | 0.37736 | 0.12579 | 0.13283 | 0.011069 | -0.18868 | 6907 | 690.7 | 0 | 0 | 0
43124.3125 | 0.031487 | 31.487 | -0.80943 | -0.74591 | -0.30126 | 0 | 0 | 0.22013 | 0.4088 | 0.15723 | 0.15094 | 0.012579 | -0.18868 | 6881 | 688.1 | 0 | 0 | 0
43124.316 | 0.031891 | 31.891 | -0.77767 | -0.71415 | -0.2695 | 0 | 0 | 0.22013 | 0.44025 | 0.15723 | 0.15698 | 0.013082 | -0.18868 | 6870 | 687 | 0 | 0 | 0
43124.3194 | 0.032196 | 32.196 | -0.74591 | -0.71415 | -0.2695 | 0 | 0 | 0.25157 | 0.44025 | 0.18868 | 0.16906 | 0.014088 | -0.18868 | 6859 | 685.9 | 0 | 0 | 0
43124.3229 | 0.032501 | 32.501 | -0.74591 | -0.68239 | -0.23774 | 0 | 0 | 0.25157 | 0.44025 | 0.18868 | 0.16906 | 0.014088 | -0.18868 | 6646 | 664.6 | 0 | 0 | 0
43124.3264 | 0.032906 | 32.906 | -0.71415 | -0.68239 | -0.23774 | 0 | 0 | 0.25157 | 0.4717 | 0.18868 | 0.17509 | 0.014591 | -0.18868 | 6846 | 684.6 | 0 | 0 | 0
43124.3299 | 0.033211 | 33.211 | -0.71415 | -0.65063 | -0.20597 | 0 | 0 | 0.28302 | 0.50314 | 0.22013 | 0.19321 | 0.016101 | -0.18868 | 6850 | 685 | 0 | 0 | 0
43124.3333 | 0.033516 | 33.516 | -0.68239 | -0.61887 | -0.17421 | 0 | 0 | 0.34591 | 0.50314 | 0.25157 | 0.21132 | 0.01761 | -0.18868 | 6820 | 682 | 0 | 0 | 0
43124.3368 | 0.03392 | 33.92 | -0.65063 | -0.58711 | -0.17421 | 0 | 0 | 0.34591 | 0.53459 | 0.28302 | 0.2234 | 0.018616 | -0.18868 | 6815 | 681.5 | 0 | 0 | 0
43124.3403 | 0.034225 | 34.225 | -0.61887 | -0.55535 | -0.11069 | 0 | 0 | 0.34591 | 0.53459 | 0.28302 | 0.2234 | 0.018616 | -0.25157 | 6633 | 663.3 | 0 | 0 | 0
43124.3438 | 0.034531 | 34.531 | -0.61887 | -0.55535 | -0.11069 | 0 | 0 | 0.37736 | 0.56604 | 0.31446 | 0.24151 | 0.020126 | -0.18868 | 6808 | 680.8 | 0 | 0 | 0
43124.3472 | 0.034935 | 34.935 | -0.58711 | -0.52358 | -0.078931 | 0 | 0 | 0.37736 | 0.56604 | 0.34591 | 0.24755 | 0.020629 | -0.18868 | 6803 | 680.3 | 0 | 0 | 0
43124.3507 | 0.03524 | 35.24 | -0.58711 | -0.49182 | -0.04717 | 0 | 0 | 0.4088 | 0.59748 | 0.34591 | 0.25962 | 0.021635 | -0.18868 | 6813 | 681.3 | 0 | 0 | 0
43124.3542 | 0.035545 | 35.545 | -0.55535 | -0.49182 | -0.04717 | 0 | 0 | 0.4088 | 0.59748 | 0.34591 | 0.25962 | 0.021635 | -0.18868 | 6887 | 688.7 | 0 | 0 | 0
43124.3576 | 0.035851 | 35.851 | -0.55535 | -0.46006 | -0.04717 | 0 | 0 | 0.4088 | 0.59748 | 0.37736 | 0.26566 | 0.022138 | -0.18868 | 6662 | 666.2 | 0 | 0 | 0
43124.3611 | 0.036263 | 36.263 | -0.52358 | -0.46006 | -0.015409 | 0 | 0 | 0.4088 | 0.62893 | 0.37736 | 0.2717 | 0.022642 | -0.18868 | 6841 | 684.1 | 0 | 0 | 0
43124.3646 | 0.03656 | 36.56 | -0.49182 | -0.4283 | -0.015409 | 0 | 0 | 0.44025 | 0.66038 | 0.44025 | 0.29585 | 0.024654 | -0.22013 | 6540 | 654 | 0 | 0 | 0
43124.3681 | 0.036865 | 36.865 | -0.49182 | -0.4283 | -0.015409 | 0 | 0 | 0.4088 | 0.66038 | 0.4088 | 0.28377 | 0.023648 | -0.15723 | 6807 | 680.7 | 0 | 0 | 0
43124.3715 | 0.03717 | 37.17 | -0.49182 | -0.4283 | 0.016352 | 0.0039245 | 0.00032704 | 0.4088 | 0.62893 | 0.4088 | 0.27774 | 0.023145 | -0.15723 | 6968 | 696.8 | 0 | 0 | 0
43124.375 | 0.037582 | 37.582 | -0.49182 | -0.39654 | 0.016352 | 0.0039245 | 0.00032704 | 0.4088 | 0.66038 | 0.4088 | 0.28377 | 0.023648 | -0.18868 | 6849 | 684.9 | 0 | 0 | 0
43124.3785 | 0.03788 | 37.88 | -0.46006 | -0.39654 | 0.016352 | 0.0039245 | 0.00032704 | 0.44025 | 0.66038 | 0.4717 | 0.30189 | 0.025157 | -0.18868 | 6535 | 653.5 | 0 | 0 | 0
43124.3819 | 0.038185 | 38.185 | -0.46006 | -0.36478 | 0.048113 | 0.011547 | 0.00096226 | 0.4717 | 0.69182 | 0.44025 | 0.30792 | 0.02566 | -0.18868 | 6865 | 686.5 | 0 | 0 | 0
43124.3854 | 0.03849 | 38.49 | -0.4283 | -0.33302 | 0.048113 | 0.011547 | 0.00096226 | 0.4717 | 0.69182 | 0.4717 | 0.31396 | 0.026164 | -0.18868 | 6929 | 692.9 | 0 | 0 | 0
43124.3889 | 0.038902 | 38.902 | -0.4283 | -0.33302 | 0.079874 | 0.01917 | 0.0015975 | 0.4717 | 0.69182 | 0.4717 | 0.31396 | 0.026164 | -0.25157 | 6679 | 667.9 | 0 | 0 | 0
43124.3924 | 0.039207 | 39.207 | -0.39654 | -0.33302 | 0.11163 | 0.026792 | 0.0022327 | 0.50314 | 0.72327 | 0.50314 | 0.33208 | 0.027673 | -0.22013 | 6505 | 650.5 | 0 | 0 | 0
43124.3958 | 0.039505 | 39.505 | -0.39654 | -0.30126 | 0.11163 | 0.026792 | 0.0022327 | 0.50314 | 0.72327 | 0.53459 | 0.33811 | 0.028176 | -0.22013 | 6509 | 650.9 | 0 | 0 | 0
43124.3993 | 0.03981 | 39.81 | -0.39654 | -0.30126 | 0.11163 | 0.026792 | 0.0022327 | 0.4717 | 0.72327 | 0.50314 | 0.32604 | 0.02717 | -0.18868 | 7028 | 702.8 | 0 | 0 | 0
43124.4028 | 0.040115 | 40.115 | -0.36478 | -0.30126 | 0.1434 | 0.034415 | 0.0028679 | 0.4717 | 0.72327 | 0.50314 | 0.32604 | 0.02717 | -0.18868 | 6866 | 686.6 | 0 | 0 | 0
43124.4062 | 0.040421 | 40.421 | -0.36478 | -0.30126 | 0.1434 | 0.034415 | 0.0028679 | 0.50314 | 0.75472 | 0.50314 | 0.33811 | 0.028176 | -0.18868 | 6965 | 696.5 | 0 | 0 | 0
43124.4097 | 0.040726 | 40.726 | -0.33302 | -0.2695 | 0.17516 | 0.042038 | 0.0035031 | 0.53459 | 0.75472 | 0.53459 | 0.35019 | 0.029182 | -0.18868 | 6933 | 693.3 | 0 | 0 | 0
43124.4132 | 0.041031 | 41.031 | -0.33302 | -0.23774 | 0.17516 | 0.042038 | 0.0035031 | 0.53459 | 0.78616 | 0.56604 | 0.36226 | 0.030189 | -0.18868 | 6625 | 662.5 | 0 | 0 | 0
43124.4167 | 0.056671 | 56.671 | -0.33302 | -0.2695 | 0.17516 | 0.042038 | 0.0035031 | 84.8742 | 86.0377 | 86.5409 | 49.4309 | 4.1192 | 59.6855 | 6401 | 640.1 | 38.2047 | 54.5782 | 3.1837
43124.4201 | 0.13173 | 131.729 | -0.23774 | -0.14245 | 0.27044 | 0.064906 | 0.0054088 | 62.6415 | 63.522 | 62.4528 | 36.2143 | 3.0179 | 42.5786 | 6447 | 644.7 | 27.4504 | 39.2149 | 2.2875
43124.4236 | 0.19825 | 198.25 | 15.2299 | 17.739 | 17.9613 | 12.2232 | 1.0186 | 60.3774 | 61.0692 | 59.8113 | 34.8015 | 2.9001 | 36.6352 | 5860 | 586 | 21.4682 | 30.6689 | 1.789
43124.4271 | 0.27452 | 274.521 | 15.3252 | 17.1038 | 19.9623 | 12.5739 | 1.0478 | 61.1321 | 63.3019 | 61.9497 | 35.7857 | 2.9821 | 37.4528 | 5915 | 591.5 | 22.1533 | 31.6476 | 1.8461
43124.4306 | 0.35069 | 350.693 | 17.5167 | 21.5186 | 20.7245 | 14.3423 | 1.1952 | 64.088 | 61.3522 | 63.6478 | 36.3049 | 3.0254 | 37.044 | 5838 | 583.8 | 21.6263 | 30.8947 | 1.8022
43124.434 | 0.42667 | 426.666 | -0.04717 | 0.048113 | 0.49277 | 0.12981 | 0.010818 | 54.2767 | 54.1824 | 50.7233 | 30.563 | 2.5469 | 38.522 | 6436 | 643.6 | 24.7928 | 35.4182 | 2.0661
43124.4375 | 0.50304 | 503.036 | 15.1981 | 18.5648 | 19.0412 | 12.673 | 1.0561 | 62.2327 | 60.8805 | 59.9686 | 35.1517 | 2.9293 | 37.3585 | 5821 | 582.1 | 21.7464 | 31.0663 | 1.8122
43124.441 | 0.57861 | 578.606 | 4.7805 | 8.973 | 10.4022 | 5.7974 | 0.48311 | 55.2201 | 56.6038 | 56.2893 | 32.2777 | 2.6898 | 34.8742 | 6782 | 678.2 | 23.6517 | 33.7881 | 1.971
43124.4445 | 0.65447 | 654.472 | -0.23774 | -0.078931 | 0.33396 | 0.080151 | 0.0066792 | 65 | 63.3019 | 64.6226 | 37.0415 | 3.0868 | 40.7233 | 6700 | 670 | 27.2846 | 38.978 | 2.2737
43124.4479 | 0.72922 | 729.218 | -0.2695 | -0.11069 | 0.27044 | 0.064906 | 0.0054088 | 56.4465 | 63.3333 | 62.3585 | 34.9706 | 2.9142 | 38.9937 | 6324 | 632.4 | 24.6596 | 35.228 | 2.055
43124.4514 | 0.80437 | 804.375 | -0.11069 | 0.079874 | 0.39748 | 0.11457 | 0.0095472 | 56.0377 | 62.1384 | 57.2956 | 33.6906 | 2.8075 | 36.2893 | 6621 | 662.1 | 24.0272 | 34.3245 | 2.0023
43124.4549 | 0.87933 | 879.326 | 0.11163 | 0.20692 | 0.61981 | 0.22521 | 0.018767 | 64.1195 | 61.1006 | 59.4654 | 35.4596 | 2.955 | 40.7233 | 6458 | 645.8 | 26.2991 | 37.5701 | 2.1916
43124.4583 | 0.95387 | 953.873 | 0.1434 | 0.36572 | 0.77862 | 0.30906 | 0.025755 | 64.1195 | 66.4151 | 64.8113 | 37.5064 | 3.1255 | 45.5975 | 6585 | 658.5 | 30.0259 | 42.8942 | 2.5022
43124.4618 | 1.0284 | 1028.419 | 25.6792 | 29.8082 | 31.1421 | 20.7911 | 1.7326 | 63.3648 | 62.8931 | 60.9434 | 35.9426 | 2.9952 | 29.6226 | 5758 | 575.8 | 17.0567 | 24.3667 | 1.4214
43124.4653 | 1.1034 | 1103.378 | 0.016352 | 0.20692 | 0.58805 | 0.19472 | 0.016226 | 59.4969 | 63.1132 | 58.239 | 34.723 | 2.8936 | 39.2138 | 6525 | 652.5 | 25.587 | 36.5529 | 2.1323
43124.4688 | 1.1782 | 1178.23 | 5.6698 | 6.8767 | 8.7506 | 5.1113 | 0.42594 | 62.2327 | 61.6038 | 63.2075 | 35.9125 | 2.9927 | 41.478 | 5956 | 595.6 | 24.7043 | 35.2918 | 2.0587
43124.4722 | 1.2532 | 1253.181 | 0.016352 | 0.20692 | 0.58805 | 0.19472 | 0.016226 | 63.7107 | 64.8428 | 64.3082 | 37.0294 | 3.0858 | 42.4214 | 6449 | 644.9 | 27.3575 | 39.0822 | 2.2798
43124.4757 | 1.3278 | 1327.827 | 0.52453 | 1.8267 | 2.589 | 1.1857 | 0.098805 | 59.9057 | 60.4717 | 61.2264 | 34.8679 | 2.9057 | 44.0566 | 6172 | 617.2 | 27.1917 | 38.8453 | 2.266
43124.4792 | 1.4023 | 1402.275 | 0.079874 | 0.27044 | 0.61981 | 0.23283 | 0.019402 | 62.9245 | 64.9371 | 64.0566 | 36.8483 | 3.0707 | 41.2579 | 6438 | 643.8 | 26.5618 | 37.9454 | 2.2135
43124.4827 | 1.4767 | 1476.723 | 0.39748 | 0.49277 | 0.96918 | 0.44626 | 0.037189 | 62.8302 | 62.044 | 60.9119 | 35.6709 | 2.9726 | 42.9874 | 6461 | 646.1 | 27.7742 | 39.6774 | 2.3145
43124.4861 | 1.5509 | 1550.858 | 0.1434 | 0.3022 | 0.68333 | 0.27094 | 0.022579 | 68.6164 | 65.7233 | 63.7736 | 38.0377 | 3.1698 | 43.5849 | 6355 | 635.5 | 27.6982 | 39.5689 | 2.3082
43124.4896 | 1.6253 | 1625.305 | 33.556 | 36.1604 | 36.7321 | 25.5476 | 2.129 | 64.0251 | 60.9434 | 62.4214 | 35.9789 | 2.9982 | 23.5535 | 5648 | 564.8 | 13.303 | 19.0043 | 1.1086
43124.4931 | 1.6998 | 1699.753 | 34.0641 | 36.4145 | 38.5107 | 26.1574 | 2.1798 | 61.195 | 59.4654 | 59.5598 | 34.6023 | 2.8835 | 21.9811 | 5651 | 565.1 | 12.4215 | 17.7451 | 1.0351
43124.4965 | 1.7743 | 1774.3 | 0.74686 | 0.90566 | 1.3821 | 0.7283 | 0.060692 | 58.522 | 62.0126 | 58.3648 | 34.3487 | 2.8624 | 37.2013 | 6691 | 669.1 | 24.8914 | 35.5591 | 2.0743
43124.5 | 1.8477 | 1847.725 | 0.52453 | 0.68333 | 1.0962 | 0.55298 | 0.046082 | 59.9057 | 64.7799 | 59.1824 | 35.3026 | 2.9419 | 38.522 | 6463 | 646.3 | 24.8968 | 35.5668 | 2.0747
43124.5035 | 1.9217 | 1921.661 | 0.52453 | 0.65157 | 1.0962 | 0.54536 | 0.045447 | 51.9811 | 51.8239 | 54.434 | 30.3819 | 2.5318 | 38.6163 | 6375 | 637.5 | 24.6179 | 35.1685 | 2.0515
43124.5069 | 1.9957 | 1995.705 | 0.68333 | 0.81038 | 1.255 | 0.6597 | 0.054975 | 62.5472 | 62.9874 | 63.8365 | 36.3592 | 3.0299 | 41.8868 | 6409 | 640.9 | 26.8452 | 38.3503 | 2.2371
43124.5104 | 2.0695 | 2069.542 | 0.33396 | 0.52453 | 0.8739 | 0.41577 | 0.034648 | 65.7233 | 61.8554 | 64.2453 | 36.8302 | 3.0692 | 42.7358 | 6357 | 635.7 | 27.1672 | 38.8103 | 2.2639
43124.5139 | 2.1433 | 2143.272 | 1.0645 | 1.2868 | 1.795 | 0.99509 | 0.082925 | 63.3333 | 63.8994 | 60.7547 | 36.0936 | 3.0078 | 42.5157 | 6402 | 640.2 | 27.2186 | 38.8837 | 2.2682
43124.5174 | 2.2165 | 2216.499 | 0.65157 | 0.81038 | 1.3186 | 0.66732 | 0.05561 | 55.4717 | 57.7987 | 56.478 | 32.5917 | 2.716 | 39.2453 | 6487 | 648.7 | 25.4584 | 36.3692 | 2.1215
43124.5208 | 2.2906 | 2290.642 | 0.65157 | 0.77862 | 1.2233 | 0.63683 | 0.053069 | 61.6667 | 65.4088 | 63.8365 | 36.6551 | 3.0546 | 42.044 | 6425 | 642.5 | 27.0133 | 38.5904 | 2.2511
43124.5243 | 2.3643 | 2364.273 | 0.77862 | 0.93742 | 1.4138 | 0.75117 | 0.062597 | 59.1824 | 60.7547 | 58.2075 | 34.2038 | 2.8503 | 39.6541 | 6467 | 646.7 | 25.6443 | 36.6347 | 2.137
43124.5278 | 2.4377 | 2437.706 | 0.65157 | 0.81038 | 1.2233 | 0.64445 | 0.053704 | 61.195 | 64.1509 | 61.7925 | 35.9306 | 2.9942 | 41.2893 | 6411 | 641.1 | 26.4706 | 37.8151 | 2.2059
43124.5312 | 2.5116 | 2511.642 | 30.1893 | 32.9843 | 32.1902 | 22.8873 | 1.9073 | 57.3899 | 59.434 | 57.5472 | 33.4792 | 2.7899 | 25.3774 | 5753 | 575.3 | 14.5996 | 20.8566 | 1.2166
43124.5347 | 2.5851 | 2585.068 | 11.7044 | 14.1818 | 14.277 | 9.6392 | 0.80326 | 63.0189 | 61.6667 | 60.6604 | 35.5864 | 2.9655 | 38.522 | 5899 | 589.9 | 22.7241 | 32.463 | 1.8937
43124.5382 | 2.6584 | 2658.401 | 0.68333 | 0.84214 | 1.3186 | 0.68257 | 0.05688 | 58.3019 | 58.8679 | 57.2642 | 33.4913 | 2.7909 | 37.2956 | 6507 | 650.7 | 24.2682 | 34.6689 | 2.0224
43124.5417 | 2.7313 | 2731.323 | 0.68333 | 0.77862 | 1.255 | 0.65208 | 0.05434 | 58.6478 | 58.3962 | 59.2138 | 33.8415 | 2.8201 | 40.0943 | 6415 | 641.5 | 25.7205 | 36.7436 | 2.1434
43124.5451 | 2.8039 | 2803.94 | 0.61981 | 0.77862 | 1.2233 | 0.62921 | 0.052434 | 60.4088 | 61.6667 | 60.4402 | 35.043 | 2.9203 | 40.7233 | 6318 | 631.8 | 25.729 | 36.7557 | 2.1441
43124.5486 | 2.8769 | 2876.862 | 0.65157 | 0.77862 | 1.2868 | 0.65208 | 0.05434 | 61.8554 | 66.3836 | 63.9623 | 36.9026 | 3.0752 | 42.673 | 6338 | 633.8 | 27.0461 | 38.6373 | 2.2538
43124.5521 | 2.9492 | 2949.173 | 0.68333 | 0.81038 | 1.2868 | 0.66732 | 0.05561 | 59.0566 | 62.7358 | 60.6604 | 35.0309 | 2.9192 | 40.7862 | 6363 | 636.3 | 25.9522 | 37.0746 | 2.1627
43124.5556 | 3.0218 | 3021.79 | 1.0645 | 1.1915 | 1.6679 | 0.94174 | 0.078478 | 60.4717 | 63.4277 | 60.3774 | 35.3811 | 2.9484 | 37.2327 | 6539 | 653.9 | 24.3465 | 34.7807 | 2.0289
43124.559 | 3.0946 | 3094.612 | 0.77862 | 0.90566 | 1.3821 | 0.73592 | 0.061327 | 58.6163 | 59.1824 | 62.7044 | 34.6566 | 2.8881 | 39.4969 | 6466 | 646.6 | 25.5387 | 36.4838 | 2.1282
43124.5625 | 3.1672 | 3167.229 | 0.81038 | 0.93742 | 1.3821 | 0.75117 | 0.062597 | 62.6101 | 65.0315 | 62.2956 | 36.4679 | 3.039 | 41.6667 | 6509 | 650.9 | 27.1208 | 38.7441 | 2.2601
43124.566 | 3.2391 | 3239.136 | 0.8739 | 0.96918 | 1.4774 | 0.79691 | 0.066409 | 62.5157 | 65.0629 | 62.8931 | 36.5706 | 3.0475 | 41.4151 | 6538 | 653.8 | 27.0772 | 38.6817 | 2.2564
43124.5694 | 3.3105 | 3310.532 | 0.71509 | 0.84214 | 1.2868 | 0.68257 | 0.056881 | 56.0692 | 57.4214 | 59.1509 | 33.1472 | 2.7623 | 35.283 | 6380 | 638 | 22.5106 | 32.158 | 1.8759
43124.5729 | 3.3814 | 3381.424 | 0.68333 | 0.81038 | 1.255 | 0.6597 | 0.054975 | 60.4717 | 61.1635 | 61.9182 | 35.2423 | 2.9369 | 39.1509 | 6388 | 638.8 | 25.0096 | 35.728 | 2.0841
43124.5764 | 3.4522 | 3452.209 | 16.5956 | 19.5176 | 20.1211 | 13.4962 | 1.1247 | 55.0943 | 56.5094 | 56.7925 | 32.3321 | 2.6943 | 28.6164 | 5781 | 578.1 | 16.5431 | 23.633 | 1.3786
43124.5799 | 3.523 | 3523.003 | 0.90566 | 1.0327 | 1.5091 | 0.8274 | 0.06895 | 56.1321 | 57.7044 | 56.0063 | 32.6098 | 2.7175 | 34.7799 | 6528 | 652.8 | 22.7043 | 32.4347 | 1.892
43124.5833 | 3.5933 | 3593.285 | 0.71509 | 0.84214 | 1.3186 | 0.69019 | 0.057516 | 60.5031 | 62.3899 | 61.4465 | 35.3932 | 2.9494 | 39.434 | 6424 | 642.4 | 25.3324 | 36.1891 | 2.111
43124.5868 | 3.6644 | 3664.375 | 0.68333 | 0.81038 | 1.255 | 0.6597 | 0.054975 | 61.6352 | 62.4843 | 63.6792 | 36.0574 | 3.0048 | 41.0063 | 6447 | 644.7 | 26.4368 | 37.7668 | 2.2031
43124.5903 | 3.7361 | 3736.076 | 0.65157 | 0.77862 | 1.255 | 0.64445 | 0.053704 | 64.3082 | 63.239 | 61.478 | 36.2928 | 3.0244 | 41.2893 | 6422 | 642.2 | 26.516 | 37.88 | 2.2097
43124.5938 | 3.807 | 3806.969 | 0.65157 | 0.77862 | 1.255 | 0.64445 | 0.053704 | 61.6038 | 62.044 | 63.5849 | 35.9487 | 2.9957 | 41.478 | 6429 | 642.9 | 26.6662 | 38.0946 | 2.2222
43124.5972 | 3.8778 | 3877.762 | 0.96918 | 1.128 | 2.8748 | 1.1933 | 0.09944 | 58.7421 | 60.5975 | 60.1258 | 34.4574 | 2.8714 | 41.0692 | 6149 | 614.9 | 25.2534 | 36.0763 | 2.1045
43124.6007 | 3.9492 | 3949.158 | 0.65157 | 0.77862 | 1.255 | 0.64445 | 0.053704 | 64.2767 | 64.7799 | 62.4843 | 36.7759 | 3.0647 | 43.4277 | 6493 | 649.3 | 28.1976 | 40.2823 | 2.3498
43124.6042 | 4.0204 | 4020.355 | 0.65157 | 0.74686 | 1.2233 | 0.62921 | 0.052434 | 59.0881 | 60.5975 | 62.2642 | 34.9343 | 2.9112 | 41.7296 | 6400 | 640 | 26.7069 | 38.1527 | 2.2256
43124.6076 | 4.0922 | 4092.155 | 0.61981 | 0.74686 | 1.2233 | 0.62158 | 0.051799 | 59.0566 | 56.5723 | 58.9937 | 33.5275 | 2.794 | 37.7673 | 6419 | 641.9 | 24.2428 | 34.6326 | 2.0202
43124.6111 | 4.1641 | 4164.062 | 0.61981 | 0.71509 | 1.1915 | 0.60634 | 0.050528 | 58.4277 | 58.4277 | 56.6667 | 33.3162 | 2.7764 | 39.0566 | 6425 | 642.5 | 25.0939 | 35.8484 | 2.0912
43124.6146 | 4.2358 | 4235.764 | 0.58805 | 0.68333 | 1.1915 | 0.59109 | 0.049258 | 61.5723 | 64.5597 | 63.9623 | 36.4981 | 3.0415 | 41.9182 | 6455 | 645.5 | 27.0582 | 38.6546 | 2.2549
43124.6181 | 4.3077 | 4307.671 | 0.55629 | 0.68333 | 1.1597 | 0.57585 | 0.047987 | 60.5031 | 62.1384 | 62.2956 | 35.5079 | 2.959 | 40.1887 | 6392 | 639.2 | 25.6886 | 36.698 | 2.1407
43124.6215 | 4.3794 | 4379.379 | 0.55629 | 0.65157 | 1.128 | 0.5606 | 0.046717 | 53.6163 | 51.5094 | 50.566 | 29.8928 | 2.4911 | 32.2013 | 6468 | 646.8 | 20.8278 | 29.754 | 1.7356
43124.625 | 4.4516 | 4451.584 | 0.61981 | 0.74686 | 1.1915 | 0.61396 | 0.051164 | 58.9937 | 61.3837 | 57.3899 | 34.1313 | 2.8443 | 36.9811 | 6473 | 647.3 | 23.9379 | 34.197 | 1.9948
43124.6285 | 4.5233 | 4523.293 | 0.55629 | 0.68333 | 1.1597 | 0.57585 | 0.047987 | 60.5975 | 59.8113 | 60.7547 | 34.7834 | 2.8986 | 38.805 | 6403 | 640.3 | 24.8469 | 35.4955 | 2.0706
43124.6319 | 4.5952 | 4595.2 | 0.55629 | 0.65157 | 1.128 | 0.5606 | 0.046717 | 61.761 | 63.2075 | 62.327 | 35.9608 | 2.9967 | 40.283 | 6410 | 641 | 25.8214 | 36.8877 | 2.1518
43124.6354 | 4.6672 | 4667.206 | 0.55629 | 0.65157 | 1.0962 | 0.55298 | 0.046082 | 57.1384 | 58.4591 | 57.8616 | 33.3042 | 2.7753 | 36.3837 | 6449 | 644.9 | 23.4638 | 33.5197 | 1.9553
43124.6389 | 4.7393 | 4739.311 | 0.52453 | 0.65157 | 1.0327 | 0.53011 | 0.044176 | 58.9308 | 57.5157 | 58.9308 | 33.6725 | 2.806 | 39.1195 | 6417 | 641.7 | 25.103 | 35.8614 | 2.0919
43124.6424 | 4.8113 | 4811.325 | 0.52453 | 0.61981 | 1.0962 | 0.53774 | 0.044811 | 63.6792 | 63.522 | 62.673 | 36.4558 | 3.038 | 46.0063 | 6423 | 642.3 | 29.5498 | 42.2141 | 2.4625
43124.6458 | 4.8838 | 4883.835 | 0.52453 | 0.58805 | 1.0962 | 0.53011 | 0.044176 | 63.1761 | 63.3648 | 61.6667 | 36.1358 | 3.0113 | 42.5472 | 6357 | 635.7 | 27.0472 | 38.6389 | 2.2539
43124.6493 | 4.9559 | 4955.948 | 0.52453 | 0.58805 | 1.0645 | 0.52249 | 0.043541 | 55.3145 | 59.9057 | 56.6038 | 32.9902 | 2.7492 | 36.5094 | 6426 | 642.6 | 23.461 | 33.5157 | 1.9551
43124.6528 | 5.0282 | 5028.16 | 0.49277 | 0.58805 | 1.0645 | 0.51487 | 0.042906 | 62.4528 | 62.2642 | 63.5849 | 36.154 | 3.0128 | 42.4214 | 6366 | 636.6 | 27.0055 | 38.5792 | 2.2505
43124.6562 | 5.1005 | 5100.471 | 0.46101 | 0.55629 | 1.0327 | 0.492 | 0.041 | 57.8616 | 57.8302 | 55.8491 | 32.9359 | 2.7447 | 38.2704 | 6372 | 637.2 | 24.3859 | 34.837 | 2.0322
43124.6597 | 5.1729 | 5172.882 | 0.46101 | 0.55629 | 1.0327 | 0.492 | 0.041 | 57.7673 | 62.6101 | 58.6478 | 34.3728 | 2.8644 | 40.2201 | 6324 | 632.4 | 25.4352 | 36.336 | 2.1196
43124.6632 | 5.2453 | 5245.3 | 0.46101 | 0.52453 | 1.0645 | 0.492 | 0.041 | 51.6352 | 53.805 | 53.9937 | 30.6113 | 2.5509 | 39.4025 | 6343 | 634.3 | 24.993 | 35.7043 | 2.0828
43124.6667 | 5.3171 | 5317.101 | 0.42924 | 0.52453 | 0.96918 | 0.46151 | 0.038459 | 58.3333 | 60.7862 | 58.6163 | 34.1253 | 2.8438 | 39.9686 | 6309 | 630.9 | 25.2162 | 36.0231 | 2.1013
43124.6701 | 5.389 | 5389.008 | 0.42924 | 0.49277 | 1.0009 | 0.46151 | 0.038459 | 57.0126 | 60.2201 | 56.2893 | 33.3162 | 2.7764 | 38.9937 | 6281 | 628.1 | 24.4919 | 34.9885 | 2.041
43124.6736 | 5.4602 | 5460.205 | 0.42924 | 0.49277 | 1.0327 | 0.46913 | 0.039094 | 51.0692 | 55.3145 | 52.0755 | 30.4241 | 2.5353 | 34.9686 | 6293 | 629.3 | 22.0057 | 31.4367 | 1.8338
43124.6771 | 5.5314 | 5531.403 | 0.42924 | 0.49277 | 1.0009 | 0.46151 | 0.038459 | 63.6163 | 61.7296 | 61.9497 | 35.9608 | 2.9967 | 42.8616 | 6265 | 626.5 | 26.8528 | 38.3612 | 2.2377
43124.6806 | 5.6028 | 5602.798 | 0.39748 | 0.49277 | 0.96918 | 0.44626 | 0.037189 | 49.9686 | 50.8491 | 50.8805 | 29.126 | 2.4272 | 34.1195 | 6247 | 624.7 | 21.3145 | 30.4492 | 1.7762
43124.684 | 5.6738 | 5673.79 | 0.39748 | 0.49277 | 0.93742 | 0.43864 | 0.036553 | 60.4088 | 60.4717 | 61.478 | 35.0128 | 2.9177 | 42.4843 | 6060 | 606 | 25.7455 | 36.7792 | 2.1455
43124.6875 | 5.7451 | 5745.087 | 3.0019 | 3.4783 | 4.0182 | 2.5196 | 0.20997 | 61.4465 | 59.6855 | 60.5031 | 34.874 | 2.9062 | 41.8239 | 5997 | 599.7 | 25.0818 | 35.8311 | 2.0901
43124.691 | 5.8169 | 5816.895 | 10.7833 | 10.5928 | 11.0692 | 7.7869 | 0.64891 | 60.566 | 64.1195 | 62.327 | 35.9064 | 2.9922 | 41.8239 | 6116 | 611.6 | 25.5795 | 36.5421 | 2.1316
43124.6944 | 5.8885 | 5888.496 | 11.1327 | 10.6881 | 11.1009 | 7.9012 | 0.65843 | 56.2893 | 57.4214 | 57.956 | 32.96 | 2.7467 | 38.239 | 5855 | 585.5 | 22.3889 | 31.9842 | 1.8657
43124.6979 | 5.9599 | 5959.892 | 20.1528 | 22.916 | 22.8525 | 15.8211 | 1.3184 | 62.6101 | 61.2893 | 59.5598 | 35.2242 | 2.9353 | 36.3522 | 5792 | 579.2 | 21.0552 | 30.0788 | 1.7546
43124.7014 | 6.031 | 6030.983 | 16.0557 | 18.2154 | 20.0258 | 13.0312 | 1.0859 | 59.6855 | 58.1132 | 56.8868 | 33.5396 | 2.795 | 33.5535 | 5799 | 579.9 | 19.4577 | 27.7966 | 1.6215
43124.7049 | 6.1022 | 6102.18 | 20.9786 | 24.6311 | 24.25 | 16.7663 | 1.3972 | 60.9119 | 61.9497 | 60.6918 | 35.2423 | 2.9369 | 31.1321 | 5753 | 575.3 | 17.9103 | 25.5861 | 1.4925
43124.7083 | 6.1746 | 6174.599 | 22.1538 | 25.1075 | 27.4579 | 17.9326 | 1.4944 | 58.4906 | 58.4591 | 58.9937 | 33.7811 | 2.8151 | 28.3648 | 5709 | 570.9 | 16.1935 | 23.1335 | 1.3495
43124.7118 | 6.2472 | 6247.215 | 33.2701 | 35.6204 | 36.4145 | 25.2732 | 2.1061 | 60.7862 | 64.2767 | 65.5975 | 36.6068 | 3.0506 | 26.1006 | 5691 | 569.1 | 14.8539 | 21.2198 | 1.2378
43124.7153 | 6.3197 | 6319.725 | 37.5896 | 40.9881 | 42.449 | 29.0464 | 2.4205 | 61.7925 | 62.7044 | 63.3333 | 36.0634 | 3.0053 | 23.2704 | 5644 | 564.4 | 13.1338 | 18.7626 | 1.0945
43124.7188 | 6.3918 | 6391.838 | 41.0516 | 41.0516 | 43.2748 | 30.0907 | 2.5076 | 60.4088 | 62.9874 | 62.1069 | 35.6166 | 2.9681 | 20.2201 | 5681 | 568.1 | 11.4871 | 16.4101 | 0.95725
43124.7222 | 6.4637 | 6463.745 | 37.7484 | 38.4472 | 41.5915 | 28.2689 | 2.3557 | 56.7296 | 58.3962 | 59.434 | 33.5155 | 2.793 | 17.4528 | 5639 | 563.9 | 9.8417 | 14.0595 | 0.82014
43124.7257 | 6.5358 | 6535.751 | 45.0852 | 44.8629 | 47.6896 | 33.0331 | 2.7528 | 61.1635 | 61.195 | 63.8679 | 35.7555 | 2.9796 | 15.8491 | 5631 | 563.1 | 8.9246 | 12.7494 | 0.74372
43124.7292 | 6.6079 | 6607.864 | 44.4818 | 46.8003 | 50.2623 | 33.9706 | 2.8309 | 60.4717 | 58.9623 | 61.0063 | 34.6445 | 2.887 | 13.0818 | 5589 | 558.9 | 7.3114 | 10.4449 | 0.60928
43124.7326 | 6.6802 | 6680.176 | 41.7503 | 46.8321 | 46.2921 | 32.3699 | 2.6975 | 56.5723 | 58.3648 | 58.5849 | 33.3162 | 2.7764 | 11.1321 | 5589 | 558.9 | 6.2217 | 8.8882 | 0.51848
43124.7361 | 6.7534 | 6753.403 | 44.0371 | 49.5318 | 51.8186 | 34.893 | 2.9077 | 60.6289 | 60.2201 | 60.1887 | 34.7592 | 2.8966 | 10.1572 | 5568 | 556.8 | 5.6555 | 8.0794 | 0.4713
43124.7396 | 6.8261 | 6826.118 | 48.5472 | 52.3903 | 54.3912 | 37.2789 | 3.1066 | 62.4843 | 64.5597 | 63.6478 | 36.6128 | 3.0511 | 10.283 | 5586 | 558.6 | 5.7441 | 8.2058 | 0.47867
43124.7431 | 6.8986 | 6898.636 | 50.3576 | 50.834 | 54.9947 | 37.4847 | 3.1237 | 59.8742 | 61.3837 | 62.0755 | 35.2 | 2.9333 | 8.8994 | 5557 | 555.7 | 4.9454 | 7.0648 | 0.41212
43124.7465 | 6.9704 | 6970.436 | 48.8648 | 48.8013 | 54.7088 | 36.57 | 3.0475 | 56.9497 | 59.8113 | 56.9811 | 33.3585 | 2.7799 | 7.1698 | 5554 | 555.4 | 3.9821 | 5.6887 | 0.33184
43124.75 | 7.0422 | 7042.244 | 51.3421 | 54.2642 | 57.8214 | 39.2226 | 3.2686 | 62.4528 | 63.9623 | 62.5786 | 36.2868 | 3.0239 | 7.8616 | 5589 | 558.9 | 4.3939 | 6.277 | 0.36616
43124.7535 | 7.1141 | 7114.052 | 50.9928 | 54.3277 | 55.9157 | 38.6967 | 3.2247 | 62.7358 | 61.2579 | 62.1698 | 35.7434 | 2.9786 | 7.2956 | 5578 | 557.8 | 4.0695 | 5.8135 | 0.33912
43124.7569 | 7.186 | 7185.951 | 49.2141 | 50.4528 | 54.2006 | 36.9282 | 3.0774 | 55.566 | 58.1761 | 58.6792 | 33.1049 | 2.7587 | 3.8365 | 5534 | 553.4 | 2.1231 | 3.033 | 0.17693
43124.7604 | 7.2575 | 7257.454 | 51.1833 | 55.7887 | 58.5836 | 39.7334 | 3.3111 | 60.4088 | 61.478 | 59.717 | 34.8679 | 2.9057 | 3.1447 | 5511 | 551.1 | 1.733 | 2.4757 | 0.14442
43124.7639 | 7.3291 | 7329.056 | 54.7088 | 56.1063 | 57.7896 | 40.4651 | 3.3721 | 59.9371 | 60.5975 | 59.1195 | 34.4936 | 2.8745 | 2.4214 | 5517 | 551.7 | 1.3359 | 1.9084 | 0.11132
43124.7674 | 7.4007 | 7400.658 | 54.6135 | 56.3921 | 59.2506 | 40.8615 | 3.4051 | 58.3019 | 59.717 | 62.2642 | 34.6143 | 2.8845 | 1.7925 | 5517 | 551.7 | 0.9889 | 1.4127 | 0.082408
43124.7708 | 7.4734 | 7473.373 | 54.2959 | 56.9638 | 59.5365 | 40.9911 | 3.4159 | 60.8176 | 61.0377 | 59.4025 | 34.8015 | 2.9001 | 1.3836 | 5526 | 552.6 | 0.7646 | 1.0923 | 0.063717
43124.7743 | 7.5463 | 7546.295 | 57.6626 | 58.0119 | 61.9821 | 42.6376 | 3.5531 | 62.2642 | 61.6981 | 65.5975 | 36.3955 | 3.033 | 0.81761 | 5485 | 548.5 | 0.44846 | 0.64066 | 0.037372
43124.7778 | 7.6187 | 7618.713 | 52.5173 | 53.5337 | 55.217 | 38.7043 | 3.2254 | 56.4151 | 59.6855 | 60.6289 | 33.9321 | 2.8277 | 0.25157 | 5509 | 550.9 | 0.13859 | 0.19799 | 0.011549
43124.7812 | 7.6916 | 7691.635 | 52.8667 | 51.5962 | 54.3594 | 38.1174 | 3.1764 | 52.9245 | 55.7547 | 54.434 | 31.3177 | 2.6098 | -0.12579 | 5577 | 557.7 | 0 | 0 | 0
43124.7847 | 7.7645 | 7764.458 | 58.0755 | 58.9648 | 61.6962 | 42.8968 | 3.5747 | 61.5723 | 62.0755 | 63.239 | 35.8823 | 2.9902 | -0.062893 | 5556 | 555.6 | 0 | 0 | 0
43124.7882 | 7.8366 | 7836.563 | 56.3921 | 58.9013 | 60.934 | 42.2946 | 3.5245 | 63.1761 | 61.8554 | 61.7296 | 35.8581 | 2.9882 | -0.09434 | 5513 | 551.3 | 0 | 0 | 0
43124.7917 | 7.9083 | 7908.264 | 54.423 | 54.9311 | 57.9167 | 40.145 | 3.3454 | 57.2642 | 58.7421 | 56.9182 | 33.2015 | 2.7668 | -0.09434 | 5514 | 551.4 | 0 | 0 | 0
43124.7951 | 7.9804 | 7980.377 | 52.422 | 55.3758 | 58.0755 | 39.8096 | 3.3175 | 56.2264 | 58.9308 | 56.1006 | 32.8815 | 2.7401 | -0.09434 | 5519 | 551.9 | 0 | 0 | 0
43124.7986 | 8.053 | 8052.994 | 51.5327 | 55.3123 | 54.8359 | 38.8034 | 3.2336 | 58.8679 | 58.239 | 57.956 | 33.6121 | 2.801 | -0.12579 | 5500 | 550 | 0 | 0 | 0
43124.8021 | 8.1261 | 8126.122 | 58.5836 | 58.2978 | 61.8868 | 42.9044 | 3.5754 | 63.8679 | 62.2642 | 63.8365 | 36.474 | 3.0395 | -0.09434 | 5496 | 549.6 | 0 | 0 | 0
43124.8056 | 8.1985 | 8198.532 | 54.4865 | 54.9311 | 58.5519 | 40.3127 | 3.3594 | 58.7421 | 62.7673 | 61.8554 | 35.206 | 2.9338 | -0.062893 | 5506 | 550.6 | 0 | 0 | 0
43124.809 | 8.271 | 8271.049 | 55.7887 | 53.089 | 57.5355 | 39.9392 | 3.3283 | 57.5157 | 57.5157 | 59.1195 | 33.437 | 2.7864 | -0.09434 | 5502 | 550.2 | 0 | 0 | 0
43124.8125 | 8.3436 | 8343.567 | 57.345 | 57.3132 | 58.7107 | 41.6085 | 3.4674 | 61.4151 | 60.283 | 63.6792 | 35.5925 | 2.966 | -0.062893 | 5489 | 548.9 | 0 | 0 | 0
43124.816 | 8.4165 | 8416.489 | 57.1226 | 57.2179 | 60.0764 | 41.8601 | 3.4883 | 60.0629 | 60.0629 | 59.0566 | 34.403 | 2.8669 | -0.09434 | 5511 | 551.1 | 0 | 0 | 0
43124.8194 | 8.4889 | 8488.899 | 53.883 | 56.9003 | 58.3296 | 40.5871 | 3.3823 | 61.478 | 61.4465 | 60.566 | 35.2302 | 2.9358 | -0.09434 | 5509 | 550.9 | 0 | 0 | 0
43124.8229 | 8.5617 | 8561.722 | 54.4547 | 53.6925 | 58.1072 | 39.9011 | 3.3251 | 59.5598 | 63.4591 | 59.6226 | 35.0672 | 2.9223 | -0.09434 | 5512 | 551.2 | 0 | 0 | 0
43124.8264 | 8.6347 | 8634.743 | 59.3459 | 57.6308 | 58.0119 | 41.9973 | 3.4998 | 61.3837 | 64.088 | 61.478 | 35.8943 | 2.9912 | -0.09434 | 5524 | 552.4 | 0 | 0 | 0
43124.8299 | 8.708 | 8707.97 | 58.5519 | 57.8849 | 60.4575 | 42.4546 | 3.5379 | 63.1761 | 64.4025 | 64.4969 | 36.8785 | 3.0732 | -0.09434 | 5532 | 553.2 | 0 | 0 | 0
43124.8333 | 8.7809 | 8780.891 | 52.8667 | 50.1352 | 52.7396 | 37.378 | 3.1148 | 56.1321 | 57.2327 | 59.4969 | 33.1894 | 2.7658 | -0.12579 | 5541 | 554.1 | 0 | 0 | 0
43124.8368 | 8.8536 | 8853.607 | 52.8349 | 52.5173 | 57.6943 | 39.1312 | 3.2609 | 59.1509 | 58.4591 | 62.1069 | 34.5057 | 2.8755 | -0.09434 | 5535 | 553.5 | 0 | 0 | 0
43124.8403 | 8.9271 | 8927.139 | 55.7887 | 57.1544 | 60.6481 | 41.6619 | 3.4718 | 56.9811 | 58.2075 | 60.1572 | 33.6664 | 2.8055 | -0.09434 | 5534 | 553.4 | 0 | 0 | 0
43124.8438 | 9 | 8999.962 | 59.473 | 59.0283 | 62.2679 | 43.3846 | 3.6154 | 61.8554 | 62.2327 | 61.3522 | 35.6045 | 2.967 | -0.062893 | 5534 | 553.4 | 0 | 0 | 0
43124.8472 | 9.0731 | 9073.09 | 56.8685 | 57.0591 | 59.727 | 41.6771 | 3.4731 | 59.1509 | 62.2642 | 63.9623 | 35.5925 | 2.966 | -0.09434 | 5534 | 553.4 | 0 | 0 | 0
43124.8507 | 9.1463 | 9146.317 | 59.0283 | 56.0745 | 58.266 | 41.6085 | 3.4674 | 61.0692 | 62.327 | 63.8679 | 35.9547 | 2.9962 | -0.09434 | 5540 | 554 | 0 | 0 | 0
43124.8542 | 9.2193 | 9219.337 | 56.138 | 56.4557 | 58.6154 | 41.0902 | 3.4242 | 60.1258 | 61.0063 | 60.7233 | 34.9162 | 2.9097 | -0.09434 | 5529 | 552.9 | 0 | 0 | 0
43124.8576 | 9.2924 | 9292.358 | 55.2805 | 54.1054 | 56.6145 | 39.8401 | 3.32 | 60.5346 | 60.5031 | 60.5031 | 34.8558 | 2.9047 | -0.062893 | 5523 | 552.3 | 0 | 0 | 0
43124.8611 | 9.3655 | 9365.486 | 56.7097 | 57.0591 | 59.8858 | 41.6771 | 3.4731 | 61.9182 | 62.6101 | 59.5912 | 35.3509 | 2.9459 | -0.09434 | 5576 | 557.6 | 0 | 0 | 0
43124.8646 | 9.4385 | 9438.507 | 0.58805 | 0.90566 | 1.8267 | 0.79691 | 0.066409 | 1.6352 | 2.3585 | 2.5157 | 1.2498 | 0.10415 | -0.28302 | 6030 | 603 | 0 | 0 | 0
43124.8681 | 9.5111 | 9511.124 | 0.33396 | 0.39748 | 1.2868 | 0.48438 | 0.040365 | 1.3208 | 2.0126 | 2.0126 | 1.0264 | 0.085535 | -0.28302 | 6047 | 604.7 | 0 | 0 | 0
43124.8715 | 9.5839 | 9583.946 | 0.23868 | 0.27044 | 1.0009 | 0.36241 | 0.030201 | 1.0692 | 1.7925 | 1.7296 | 0.88151 | 0.073459 | -0.28302 | 6005 | 600.5 | 0 | 0 | 0
43124.875 | 9.6564 | 9656.364 | 0.079874 | 0.17516 | 0.93742 | 0.28619 | 0.023849 | 0.8805 | 1.6038 | 1.5094 | 0.76679 | 0.063899 | -0.28302 | 6019 | 601.9 | 0 | 0 | 0
43124.8785 | 9.7285 | 9728.47 | -0.015409 | 0.079874 | 0.90566 | 0.23653 | 0.019711 | 0.78616 | 1.478 | 1.3836 | 0.70038 | 0.058365 | -0.28302 | 6023 | 602.3 | 0 | 0 | 0
43124.8819 | 9.8012 | 9801.186 | -0.078931 | 0.016352 | 0.74686 | 0.18317 | 0.015264 | 0.69182 | 1.3522 | 1.2579 | 0.63396 | 0.05283 | -0.28302 | 6029 | 602.9 | 0 | 0 | 0
43124.8854 | 9.8733 | 9873.299 | -0.14245 | -0.04717 | 0.68333 | 0.164 | 0.013667 | 0.59748 | 1.2264 | 1.1321 | 0.56755 | 0.047296 | -0.28302 | 6026 | 602.6 | 0 | 0 | 0
43124.8889 | 9.946 | 9946.014 | -0.23774 | -0.14245 | 0.42924 | 0.10302 | 0.0085849 | 0.53459 | 1.1635 | 1.0377 | 0.52528 | 0.043774 | -0.28302 | 6023 | 602.3 | 0 | 0 | 0
43124.8924 | 10.0182 | 10018.23 | -0.2695 | -0.17421 | 0.58805 | 0.14113 | 0.011761 | 0.4717 | 1.0692 | 0.97484 | 0.48302 | 0.040252 | -0.28302 | 6027 | 602.7 | 0 | 0 | 0
43124.8958 | 10.0904 | 10090.44 | -0.33302 | -0.23774 | 0.39748 | 0.095396 | 0.0079497 | 0.44025 | 1.0063 | 0.91195 | 0.45283 | 0.037736 | -0.28302 | 6026 | 602.6 | 0 | 0 | 0
43124.8993 | 10.163 | 10162.96 | -0.36478 | -0.30126 | 0.27044 | 0.064906 | 0.0054088 | 0.4088 | 0.9434 | 0.84906 | 0.42264 | 0.03522 | -0.28302 | 6034 | 603.4 | 0 | 0 | 0
43124.9028 | 10.2356 | 10235.57 | -0.4283 | -0.33302 | 0.27044 | 0.064906 | 0.0054088 | 0.37736 | 0.91195 | 0.78616 | 0.39849 | 0.033208 | -0.28302 | 6040 | 604 | 0 | 0 | 0
43124.9062 | 10.308 | 10307.98 | -0.46006 | -0.36478 | 0.3022 | 0.072528 | 0.006044 | 0.31446 | 0.84906 | 0.72327 | 0.36226 | 0.030189 | -0.28302 | 6052 | 605.2 | 0 | 0 | 0
43124.9097 | 10.3803 | 10380.29 | -0.49182 | -0.4283 | 0.23868 | 0.057283 | 0.0047736 | 0.28302 | 0.81761 | 0.69182 | 0.34415 | 0.028679 | -0.28302 | 6050 | 605 | 0 | 0 | 0
43124.9132 | 10.4528 | 10452.81 | -0.52358 | -0.46006 | 0.11163 | 0.026792 | 0.0022327 | 0.28302 | 0.78616 | 0.66038 | 0.33208 | 0.027673 | -0.28302 | 6024 | 602.4 | 0 | 0 | 0
43124.9167 | 10.5252 | 10525.23 | -0.55535 | -0.49182 | 0.048113 | 0.011547 | 0.00096226 | 0.28302 | 0.75472 | 0.59748 | 0.31396 | 0.026164 | -0.28302 | 6026 | 602.6 | 0 | 0 | 0
43124.9201 | 10.5975 | 10597.54 | -0.58711 | -0.52358 | 0.048113 | 0.011547 | 0.00096226 | 0.25157 | 0.72327 | 0.59748 | 0.30189 | 0.025157 | -0.28302 | 6003 | 600.3 | 0 | 0 | 0
43124.9236 | 10.6702 | 10670.16 | -0.61887 | -0.52358 | 0.079874 | 0.01917 | 0.0015975 | 0.25157 | 0.72327 | 0.56604 | 0.29585 | 0.024654 | -0.28302 | 6043 | 604.3 | 0 | 0 | 0
43124.9271 | 10.7425 | 10742.47 | -0.61887 | -0.55535 | -0.04717 | 0 | 0 | 0.22013 | 0.69182 | 0.53459 | 0.27774 | 0.023145 | -0.28302 | 6055 | 605.5 | 0 | 0 | 0
43124.9306 | 10.8162 | 10816.21 | -0.65063 | -0.55535 | -0.015409 | 0 | 0 | 0.22013 | 0.69182 | 0.53459 | 0.27774 | 0.023145 | -0.28302 | 6036 | 603.6 | 0 | 0 | 0
43124.934 | 10.8902 | 10890.24 | -0.68239 | -0.58711 | 0.52453 | 0.12589 | 0.010491 | 0.22013 | 0.66038 | 0.50314 | 0.26566 | 0.022138 | -0.25157 | 6041 | 604.1 | 0 | 0 | 0
43124.9375 | 10.9637 | 10963.68 | -0.68239 | -0.61887 | -0.11069 | 0 | 0 | 0.18868 | 0.66038 | 0.4717 | 0.25358 | 0.021132 | -0.28302 | 6065 | 606.5 | 0 | 0 | 0
43124.941 | 11.037 | 11037 | -0.71415 | -0.61887 | 0.016352 | 0.0039245 | 0.00032704 | 0.18868 | 0.62893 | 0.4717 | 0.24755 | 0.020629 | -0.28302 | 6080 | 608 | 0 | 0 | 0
43124.9444 | 11.1099 | 11109.92 | -0.71415 | -0.65063 | -0.015409 | 0 | 0 | 0.18868 | 0.62893 | 0.44025 | 0.24151 | 0.020126 | -0.25157 | 6092 | 609.2 | 0 | 0 | 0
43124.9479 | 11.184 | 11183.96 | -0.74591 | -0.65063 | 0.048113 | 0.011547 | 0.00096226 | 0.15723 | 0.59748 | 0.44025 | 0.22943 | 0.01912 | -0.28302 | 6090 | 609 | 0 | 0 | 0
43124.9514 | 11.2573 | 11257.29 | -0.74591 | -0.68239 | -0.078931 | 0 | 0 | 0.15723 | 0.56604 | 0.4088 | 0.21736 | 0.018113 | -0.28302 | 6100 | 610 | 0 | 0 | 0
43124.9549 | 11.3313 | 11331.33 | -0.74591 | -0.68239 | -0.04717 | 0 | 0 | 0.15723 | 0.56604 | 0.4088 | 0.21736 | 0.018113 | -0.25157 | 6007 | 600.7 | 0 | 0 | 0
43124.9583 | 11.4045 | 11404.46 | -0.77767 | -0.68239 | -0.078931 | 0 | 0 | 0.12579 | 0.53459 | 0.4088 | 0.20528 | 0.017107 | -0.25157 | 6040 | 604 | 0 | 0 | 0
43124.9618 | 11.4779 | 11477.88 | -0.77767 | -0.68239 | -0.14245 | 0 | 0 | 0.12579 | 0.53459 | 0.37736 | 0.19925 | 0.016604 | -0.25157 | 6055 | 605.5 | 0 | 0 | 0
43124.9653 | 11.5514 | 11551.41 | -0.77767 | -0.71415 | -0.14245 | 0 | 0 | 0.12579 | 0.53459 | 0.37736 | 0.19925 | 0.016604 | -0.25157 | 6058 | 605.8 | 0 | 0 | 0
43124.9688 | 11.625 | 11625.05 | -0.80943 | -0.71415 | -0.20597 | 0 | 0 | 0.12579 | 0.53459 | 0.37736 | 0.19925 | 0.016604 | -0.28302 | 6035 | 603.5 | 0 | 0 | 0
43124.9722 | 11.6982 | 11698.17 | -0.80943 | -0.71415 | -0.015409 | 0 | 0 | 0.09434 | 0.50314 | 0.34591 | 0.18113 | 0.015094 | -0.28302 | 6046 | 604.6 | 0 | 0 | 0
43124.9757 | 11.7714 | 11771.4 | -0.80943 | -0.71415 | -0.078931 | 0 | 0 | 0.12579 | 0.50314 | 0.34591 | 0.18717 | 0.015597 | -0.28302 | 6043 | 604.3 | 0 | 0 | 0
43124.9792 | 11.8447 | 11844.73 | -0.80943 | -0.74591 | -0.17421 | 0 | 0 | 0.09434 | 0.4717 | 0.34591 | 0.17509 | 0.014591 | -0.28302 | 6045 | 604.5 | 0 | 0 | 0
43124.9826 | 11.8472 | 11847.17 | -0.8412 | -0.74591 | -0.20597 | 0 | 0 | 0.09434 | 0.4717 | 0.34591 | 0.17509 | 0.014591 | -0.25157 | 6056 | 605.6 | 0 | 0 | 0
43124.9861 | 11.8479 | 11847.88 | -0.8412 | -0.74591 | -0.11069 | 0 | 0 | 0.09434 | 0.4717 | 0.31446 | 0.16906 | 0.014088 | -0.25157 | 6061 | 606.1 | 0 | 0 | 0
43124.9896 | 11.8485 | 11848.49 | -0.8412 | -0.74591 | -0.14245 | 0 | 0 | 0.062893 | 0.4717 | 0.31446 | 0.16302 | 0.013585 | -0.28302 | 5977 | 597.7 | 0 | 0 | 0
43124.9931 | 11.8491 | 11849.1 | -0.8412 | -0.77767 | -0.17421 | 0 | 0 | 0.062893 | 0.44025 | 0.31446 | 0.15698 | 0.013082 | -0.25157 | 6033 | 603.3 | 0 | 0 | 0
43124.9965 | 11.8497 | 11849.7 | -0.8412 | -0.74591 | -0.20597 | 0 | 0 | 0.062893 | 0.44025 | 0.28302 | 0.15094 | 0.012579 | -0.25157 | 6044 | 604.4 | 0 | 0 | 0
| Energy Mains (KWH)/Day | Energy Motor (KWH)/Day | Energy Solar (KWH)/Day | Water Volume L/Day
| 166.7551 | 377.9673 | 182.8852 | 1033994.096